Job Hazard Analysis

| Task/Equipment: | Cleaning Condenser Tubes on Chillers |
| --- | --- |
| Department: | Powerhouse |
| Analyzed By: | Bill Partin & Bryana Borders |
| Date: | 4/24/2019 |

Personal Protective Equipment Required:

Hard Hat

Heavy Rubber Gloves

Rubber Boots

Trainings Required*/Recommended:

Hazardous Communication

Equipment/Tools/Chemicals Required for the Job:

Goodway tube cleaning machine, tube brushes, hand wrenches

| Steps | Hazards Present | Safety Measures and Controls |
| --- | --- | --- |
| - Attach garden hose to Goodway machine and lay flat | No hazards present | N/A |
| - Plug in machine to 120 volt outlet | Electrical shock hazard | Make sure the outlet and plug stays dry |
| - Operate machine using foot petals | Twisted wrist, wet feet cause a slip and fall | Use heavy rubber gloves and rubber boots to keep hand and feet from slipping. A hard hat can prevent head trauma from slip and fall when worn correctly |
| - Replace brush every two rows | Slip and fall | Use rubber boots |
| - Detach garden hose and oil cable | No hazards present | N/A |

Additional Information:

Lab Coat

Protection Suit

Fall Protection Harness

High Vis Vest

Splash Goggles

Cryogenic Gloves

Dust Mask

Respirator

Face Shield

Safety Glasses

Ear Protection