Job Hazard Analysis

| Task/Equipment: | Reassembling Summer Boiler After Inspection |
| --- | --- |
| Department: | Powerhouse |
| Analyzed By: | Bill Partin & Bryana Borders |
| Date: | 4/12/19 |

Personal Protective Equipment Required:

Hard Hat

Heavy Leather Gloves

Trainings Required*/Recommended:

Ladder Training*, OSHA 10

Equipment/Tools/Chemicals Required for the Job:

Screw driver, hand tools, socket wrenches, hammer, ladder, Pipe wrenches, anti-seize compound, flash light, flood light

| Tasks/Steps | Hazards Present | Safety Measures and Controls |
| --- | --- | --- |
| - Replace manway covers (may need to use a hammer) and install new gaskets | Finger pinch and finger/hand could be smashed by the hammer | Wear heavy leather gloves to protect fingers from being pinched. Keep hands and fingers away from blunt force from the hammer |
| - Reinstall all inspection tees and plugs with thin coat of anti-seize compound | No hazards present | N/A |
| - Reinstall both low water cutouts with new gaskets if necessary | No hazards present | N/A |
| - Re-enable chemical feed pump if applicable | No hazards present | N/A |
| - Open main stop/non return | Ladder fall | Use proper ladder protocol |
| - Close main disconnect after boiler is filled for service | No hazards present | N/A |

Additional Information:

Lab Coat

Protection Suit

Fall Protection Harness

High Vis Vest

Safety Shoes

Splash Goggles

Cryogenic Gloves

Dust Mask

Respirator

Face Shield

Safety Glasses

Ear Protection